<PROJECT NAME>

<ARCHITECT NAME>                                                     

[image: image1.jpg]MVIS
CBB

|

102—Foundation Wall

Base—

Exterior Rated Sheathing

Cement Backer Board

MVIS™ Air & Water Barrier

MVIS  Veneer Mortar

Adhered Veneer

Floor Framing

MVIS Pointing Mortar

Foundation Weep Screed

Extend Adhered Veneer

1” (25mm) Below Top of
Foundation

N

2" (50mm) min. at grade

47 (100mm) min. at grade

SLOPE GRADE
2% MIN.

RERRLZRGRGRILL,

NOTE: Vapor Barrier, Air Barrier, Water—Resistive Barrier, Waterproofing Membrane,
Flashing, and Insulation type and locations to be determined by design
professional. See full MVIS specification for additional design considerations.
LATICRETE® MVIS™ Premium Pointing Mortar can be used for Glazed Block, Glazed

Brick, Porcelain Pavers,
applications. If to be used, please confirm
a field mock up.

AS A PROFESSIONAL COURTESY, LATICRETE OFFERS
TEGHNICAL SERVIGES FREE OF CHARGE. THE USER
MAINTAINS AL RESPONSIBILITY FOR VERIFYING THE
APPLICABILITY AND SUTABILITY OF THE TECHNICAL
SERVICE OR INFORMATION PROVIDED.

as well as Pre Waxed and Pre—Sealed veneer

use on finish material by performing
Revision Date: 12/20 Scale: N.T.S.

(C)2020 LATICRETE INTERNATIONAL, INC. ALL RIGHTS RESERVED. THE RIGHT TO UTILZE
LATICRETE DETAILS FOR_CONMERCIAL PURPOSES 15 GRANTED EXCLUSNELY T CONTRACTORS,
ARCHITECTS, QUANTITY SURVEYORS, ENGINEERS, AND_SPECIFICATIONS WRITERS. ALL
TRADEMARKS SHOWN ARE THE INTELLECTUAL PROPERTIES OF THEIR RESPECTIVE OWNERS.






___________________________________________________________________________________________________________

PART 1 - GENERAL
1.1
SUMMARY
A. Scope of work - Provide veneer units, veneer installation materials and accessories as indicated on drawings, as specified herein, and as needed for complete and proper installation.
B. Related Documents - provisions within General and Supplementary General Conditions of the Contract, Division 1 - General Requirements, and the Drawings apply to this Section.

1.2
SECTION INCLUDES 
NOTE TO SPECIFIER: Edit for applicable procedures & materials

A. Masonry veneer units

B. Thin brick or thin masonry veneer units

C. Installation Products; adhesives, mortars, pointing mortars, and sealants

D. Air and water barrier/Waterproofing membranes

E. Anti-fracture membranes 

F. Thresholds, trim, cementitious backer units and other accessories specified herein.

1.3
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION

NOTE TO SPECIFIER: Edit for applicable products
1.4
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION
NOTE TO SPECIFIER: Edit for applicable products

1.5
ENVIRONMENTAL PERFORMANCE REQUIREMENTS

      A.
Environmental Performance Criteria:  The following criteria are required for products included in this section. 


Refer to Division 1 for additional requirements:


1.    Products manufactured regionally within a 500 mile radius of the Project site;


2.    Adhesive products must meet or exceed the VOC limits of South Coast Air Quality


       Management District Rule #1168 and Bay Area Resources Board Reg. 8, Rule 51.

1.6
RELATED SECTIONS
NOTE TO SPECIFIER: Above are examples of typical broad scope and narrow scope sections related to ceramic tile installation. Edit for applicable related sections
A. Section 03 30 00 Cast-in-Place Concrete
B. Section 03 39 00 Concrete Curing

C. Section 03 41 00 Structural Pre-cast Concrete

D. Section 04 22 00 Concrete Unit Masonry
E. Section 04 40 00 Stone Assemblies
F. Section 04 70 00 Manufactured Masonry
G. Section 05 12 00 Structural Steel Framing
H. Section 06 11 00 Wood Framing
I. Section 06 12 00 Structural Panels

J. Section 07 14 00 Fluid-Applied Waterproofing

K. Section 07 92 13 Elastomeric Joint Sealants
L. Section 09 21 00 Gypsum Board Assemblies 
M. Section 09385 Stone Tile
       

1.7
ALLOWANCES
NOTE TO SPECIFIER: Edit for detail of applicable ALLOWANCES; coordinate with Section 01020 Allowances.  Allowances in the form of unit pricing are sometimes used when the scope of the tile work at time of bid is undetermined.

1.8
ALTERNATES
NOTE TO SPECIFIER: edit for applicable ALTERNATES.  Alternates may be used to evaluate varying levels of performance of setting systems or to assist in the selection of the tile by economy.
1.9
REFERENCE STANDARDS
A. American Iron and Steel Institute (AISI) Specification for the Design of Cold-formed Steel Structural Members

B. American National Standards Institute (ANSI) A137.1 American National Standard Specifications for Ceramic Tile

C. American National Standards Institute (ANSI) A108.01 - A108.17 American National Standard Specifications for The Installation of Ceramic Tile

D. American National Standards Institute (ANSI) A118.1 - A118.13 American National Standard Specifications for The Installation of Ceramic Tile

E. American National Standards Institute (ANSI) A136.1 American National Standard Specifications for The Installation of Ceramic Tile

F. American Plywood Association (APA) Y510T Plywood Design Specifications

G. American Society of Heating, Refrigeration and Air-conditioning Engineers (ASHRAE) 90.1 Energy Standard for Buildings Except Low-Rise Residential Buildings

H. American Society for Testing and Materials (ASTM) A82 Standard Specification for Steel Wire, Plain, for Concrete Reinforcement  

I. American Society for Testing and Materials (ASTM) A185 Standard Specification for Steel Welded Wire Fabric, Plain, for Concrete Reinforcement

J. American Society for Testing and Materials (ASTM) C33 Standard Specification for Concrete Aggregate

K. American Society for Testing and Materials (ASTM) C36 Standard Specification for Gypsum Wallboard

L. American Society for Testing and Materials (ASTM) C91 Standard Specification for Masonry Cement
M. American Society for Testing and Materials (ASTM) C109 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or 50-mm Cube Specimens)

N. American Society for Testing and Materials (ASTM) C144 Standard Specification for Aggregate for Masonry Mortar 

O. American Society for Testing and Materials (ASTM) C150 Standard Specification for Portland Cement 

P. American Society for Testing and Materials (ASTM) C171 Standard Specification for Sheet Materials for Curing Concrete

Q. American Society for Testing and Materials (ASTM) C241 Standard Test Method for Abrasion Resistance of Stone Subjected to Foot Traffic

R. American Society for Testing and Materials (ASTM) C267 Standard Test Method for Chemical Resistance of Mortars, Grouts, and Monolithic Surfacings

S. American Society for Testing and Materials (ASTM) C270 Standard Specification for Mortar for Unit Masonry
T. American Society for Testing and Materials (ASTM) C482 Standard Test Method for Bond Strength of Ceramic Tile to Portland Cement

U. American Society for Testing and Materials (ASTM) C503 Standard Specification for Marble Dimension Stone (Exterior)

V. American Society for Testing and Materials (ASTM) C531 Standard Test Method for Linear Shrinkage and Coefficient of Thermal Expansion of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings and Polymer Concretes

W. American Society for Testing and Materials (ASTM) C627 Standard Test Method for Evaluating Ceramic Floor Tile Installation Systems Using the Robinson-Type Floor Tester

X. American Society for Testing and Materials (ASTM) C794 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants

Y. American Society for Testing and Materials (ASTM) C847 Standard Specification for Metal Lath

Z. American Society for Testing and Materials (ASTM) C905 Standard Test Method for Apparent Density of Chemical-Resistant Mortars, Grouts, and Monolithic Surfacings
AA. American Society for Testing and Materials (ASTM) C920 Standard Specification for Elastomeric Joint Sealants

AB. American Society for Testing and Materials (ASTM) C955 Standard Specification for Load Bearing (Transverse and Axial) Steel Studs, Runners (Tracks), and Bracing or Bridging for Screw Application of Gypsum Board and Metal Plaster Bases

AC.  American Society for Testing and Materials (ASTM) C1780 Standard Practice for Installation Methods for Adhered Manufactured Stone Masonry Veneer
AD. American Society for Testing and Materials (ASTM) D226 Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing 

AE. American Society for Testing and Materials (ASTM) D227 Standard Specification for Coal-Tar Saturated Organic Felt Used in Roofing and Waterproofing

AF. American Society for Testing and Materials (ASTM) D751 Standard Test Method for Coated Fabrics

AG. American Society for Testing and Materials (ASTM) D751 Standard Test Method for Rubber Property - Durometer Hardness

AH. American Society for Testing and Materials (ASTM) D1248 Standard Test Method for Staining of Porous Substances by Joint Sealants

AI. American Society for Testing and Materials (ASTM) D2240 Standard Test Method for Coated Fabrics

AJ. American Society for Testing and Materials (ASTM) D4068 Standard Specification for Chlorinated Polyethylene (CPE) Sheeting for Concealed Water-Containment Membrane

AK. American Society for Testing and Materials (ASTM) D4263 Standard Test Method for Indicating Moisture in Concrete by The Plastic Sheet Method 

AL. American Society for Testing and Materials (ASTM) D4397 Standard Specification for Polyethylene Sheeting for Construction, Industrial and Agricultural Applications
AM. American Society for Testing and Materials (ASTM) D4541 Standard Test Method for Pull Off Strength of Coatings Using Portable Adhesion Testers
AN. American Society for Testing and Materials (ASTM) D4716 Standard Test Method for Determining the (In Plane) Flow Rate Per Unit Width and Hydraulic Transmissivity of a Geo-synthetic Using a Constant Head
AO. American Society for Testing and Materials (ASTM) E84 Standard Test Method for Surface Burning Characteristics of Building Materials
AP. American Society for Testing and Materials (ASTM) E90 Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions
AQ. American Society for Testing and Materials (ASTM) E96 Standard Test Methods for Water Vapor Transmission of Materials
AR. American Society for Testing and Materials (ASTM) E413 Standard Classification for Rating Sound Insulation
AS. American Society for Testing and Materials (ASTM) E492 Standard Test Method for Laboratory Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine
AT. American Society for Testing and Materials (ASTM) E779 Standard Test Method for Determining Air Leakage Rate by Fan Pressurization
AU. American Society for Testing and Materials (ASTM) E989 Standard Classification for Determination of Impact Insulation Class (IIC)
AV. American Society for Testing and Materials (ASTM) E1186 Standard Practices for Air Leakage Site Detection in Building Envelopes and Air Barrier Systems
AW. American Society for Testing and Materials (ASTM) E1827 Standard Test Methods for Determining Airtightness of Buildings Using an Orifice Blower Door
AX. American Society for Testing and Materials (ASTM) E2178 Standard Test Method for Air Permeance of Building Materials
AY. American Society for Testing and Materials (ASTM) E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies
AZ. American Society of Mechanical Engineers (ASME) - ASME A112.6.3 Floor and Trench Drains
BA. Canadian Sheet Steel Building Institute (CSSBI) Lightweight Steel Framing Binder {Publication 52M}
BB. Federal Housing Administration (FHA) Bulletin No. 750 Impact Noise Control in Multifamily Dwellings
BC. Housing and Urban Development (HUD) TS 28 A Guide to Airborne, Impact and Structure-borne Noise-Control in Multifamily Dwellings 

BD. Masonry Veneer Manufacturers Association (MVMA) Installation Guide for Adhered Concrete Masonry Veneer

BE. Materials and Methods Standards Association (MMSA) Bulletins 1-16
BF. Metal Lath/Steel Framing Association (ML/SFA) 540 Lightweight Steel Framing Systems Manual
BG. Steel Stud Manufacturers Association (SSMA) Product Technical Information and ICBO Evaluation Service, Inc. Report ER-4943P 
BH. Terrazzo, Tile and Marble Association of Canada (TTMAC) Specification Guide 09 30 00 Tile Installation Manual

III. U.S. Army Corps of Engineers Air Leakage Testing Protocol for Measuring Air Leakage in Buildings
NOTE TO SPECIFIER: edit for applicable reference standards  
1.10
SYSTEM DESCRIPTION
A. Manufactured masonry veneer using latex-modified Portland cement mortar and latex Portland cement grout joints.

NOTE TO SPECIFIER: The above systems are example descriptions; edit for additional applicable systems
1.11 SUBMITTALS

NOTE TO SPECIFIER: Edit for applicable requirements
A. Submittal Requirements: Submit the following “Required LEED Criteria” certification items as listed below.  Refer to Division 1 for additional requirements:

1. A completed LEED Environmental Building Materials Certification form.  Information to be supplied generally includes:

a. Manufacturing plant locations for tile installation products.

b. LEED Credits as listed in Part 1.4B “LEED Credit Submittals”

2. GREENGUARD Environmental Institute certificates or GreenGuard Environmental Institute Children & Schools certificates provided by the tile installation materials manufacturer on GREENGUARD letterhead stating “This product has been GREENGUARD Indoor Air Quality Certified® by the GREENGUARD Environmental Institute under the GREENGUARD Standard for Low Emitting Products” for each tile installation product used to verify Low VOC product information.

a. Contractor’s certification of LEED Compliance: Submit Contractor’s certification verifying the installation of specified LEED Compliant products.

b. Product Cut Sheets for all materials that meet the LEED performance criteria.  Submit Product Cut Sheets with Contractor or Subcontractor’s stamp, as confirmation that submitted products were installed on Project.

3. Material Safety Data Sheets for all applicable products.

B. LEED Credit Submittals for the following;

1. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 MR Credit Building 

       Product Disclosure and Optimization – Environmental Product Declarations: Manufacturer’s Product 

       Specific (Type III) Environmental Product Declarations (EPD) for LATICRETE Cement Mortar for  

       Tile Installation, LATICRETE Cement Grout for Tile Installation, and/or LATICRETE Cement Self- 

       Leveling 

       Underlayment.  LATICRETE Product Specific (Type III) EPDs are worth 1 ½ products each.

2. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 MR Credit Building 

       Product Disclosure and Optimization – Material Ingredients: Manufacturer’s product data for tile 

       installation materials, including Health Product Declaration (HPD) on HPD Collaborative letterhead.

3. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 MR Credit Building 

       Product Disclosure and Optimization – Sourcing of Raw Materials Option 2 (Recycled Content):   

       Manufacturer’s product data for tile installation materials.
4. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 MR Credit: 

       Building Product Disclosure and Optimization – Sourcing of Raw Materials Option 2 (Regional 

       Materials): Product data indicating location of material manufacturer for regionally manufactured 

       Materials (within 100 miles of project site).

5. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 Edition MR Credit Construction and Demolition Waste Management: Path 1 (Divert 50% and Three Material Streams) Manufacturer’s packaging showing recycle symbol for appropriate disposition in construction waste management.

6. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 Edition MR Credit Construction and Demolition Waste Management: Path 1 (Divert 75% and Four Material Streams) Manufacturer’s packaging showing recycle symbol for appropriate disposition in construction waste management.

7. LEED Reference Guide for Green Building Design and Construction, LEED v4.1 EQ Credit 

      Low-Emitting Materials: Manufacturer’s product data for tile installation materials, including UL 

      GREENGUARD Gold Certificate on UL GREENGUARD letterhead stating product VOC emissions.

8.   LEED Schools Reference Guide (Educational Projects Only), 2007 Edition Credit EQ 9 (Enhanced  

      Acoustical Performance): Impact noise reduction test reports and product data on sound control    

      product(s).

9.   LEED Schools Reference Guide (Educational Projects Only), 2007 Edition Credit EQ 10 (Mold 

      Prevention): Manufacturer’s packaging and/or data showing anti-microbial protection in product(s).

C. Submit shop drawings and manufacturers' product data under provisions of Section (01 33 00).

D. Submit samples of each type/style/finish/size/color of manufactured masonry veneer, and thin brick, under provisions of Section (01 33 00).

E. Submit manufacturers' installation instructions under provisions of Section (01 33 00).

F. Submit manufacturer's qualifications under provisions of Section (01 40 00) that the materials supplied conform to relevant standards.

G. Submit proof of warranty under provisions of Section (01 78 00).. 

H. Submit sample of installation system demonstrating compatibility/functional relationships between adhesives, mortars, pointing mortars and other components under provision of Section (01 33 00)  (01 43 00).  Submit proof from veneer manufacturer or supplier verifying suitability of veneer for specific application and use; including dimensional stability, water absorption, freeze/thaw resistance (if applicable), resistance to thermal cycling, and other characteristics the project may require. These characteristics must be reviewed and approved by the project design professional(s).

I. Submit list from manufacturer of installation system/adhesive/mortar/grout identifying a minimum of three (3) similar projects, each with a minimum of ten (10) years of service.

J. for alternate materials, at least thirty (30) days before bid date submit independent laboratory test results confirming compliance with specifications listed in Part 2 - Products.
1.12
QUALITY ASSURANCE
A. Tile Manufacturer (single source responsibility): Company specializing in ceramic tile, mosaics, pavers, trim units and/or thresholds with three (3) years minimum experience.  Obtain tile from a single source with resources to provide products of consistent quality in appearance and physical properties.  

B. Installation System Manufacturer (single source responsibility): Company specializing in adhesives, mortars, grouts and other installation materials with ten (10) years minimum experience and ISO 9001 certification.  Obtain installation materials from single source manufacturer to ensure consistent quality and full compatibility.  

C. Submit laboratory confirmation of adhesives, mortars, grouts and other installation materials:

1. Identify proper usage of specified materials using positive analytical method.

2. Identify compatibility of specified materials using positive analytical method.

3. Identify proper color matching of specified materials using a positive analytical method.     

D. Installer qualifications: company specializing in installation of ceramic tile, mosaics, pavers, trim units and thresholds with five (5) years documented experience with installations of similar scope, materials and design.

1.13
MOCK-UPS
A. Provide mock-up of each type/style/finish/size/color of ceramic tile, mosaics, pavers, trim unit and threshold, along with respective installation adhesives, mortars, grouts and other installation materials, under provisions of Section (01400) (01405). 
1. Construct areas designated by Architect.

2. Do not proceed with remaining work until material, details and workmanship are approved by Architect.

3. Refinish mock-up area as required to produce acceptable work.

4. As approved by Architect, mock-up may be incorporated into finished work.
1.14
PRE-INSTALLATION CONFERENCE
Pre-installation conference: At least three weeks prior to commencing the work, attend a meeting at the jobsite to discuss conformance with requirements of specification and job site conditions.  Representatives of owner, architect, general contractor, tile subcontractor, Tile Manufacturer, Installation 
System Manufacturer and any other parties who are involved in the scope of this installation must attend the meeting.
1.15
DELIVERY, STORAGE AND HANDLING
A. Acceptance at Site: deliver and store packaged materials in original containers with seals unbroken and labels, including grade seal, intact until time of use, in accordance with manufacturer's instructions.

B. Store ceramic tile and installation system materials in a dry location; handle in a manner to prevent chipping, breakage, and contamination.
C. Protect latex additives, organic adhesives, epoxy adhesives and sealants from freezing or overheating in accordance with manufacturer's instructions. Store at room temperature when possible.

D. Store portland cement mortars and grouts in a dry location.

1.16
PROJECT/SITE CONDITIONS       

A. Provide ventilation and protection of environment as recommended by manufacturer.

B. Prevent carbon dioxide damage to ceramic tile, mosaics, pavers, trim, thresholds, as well as adhesives, mortars, grouts and other installation materials, by venting temporary heaters to the exterior.
C.   Maintain ambient temperatures not less than 50ºF (10ºC) or more than 100ºF (38ºC) during installation and for a minimum of seven (7) days after completion.  Setting of portland cement is retarded by low 
temperatures.  Protect work for extended period of time and from damage by other trades.  Installation with latex portland cement mortars requires substrate, ambient and material temperatures at least 37ºF (3ºC).  There should be no ice in slab.  Freezing after installation will not damage latex portland cement mortars. Protect portland cement based mortars and grouts from direct sunlight, radiant heat, forced ventilation (heat & cold) and drafts until cured to prevent premature evaporation of moisture. Epoxy mortars and grouts require surface temperatures between 60ºF (16ºC) and 90ºF (32ºC) at time of installation. It is the General Contractor’s responsibility to maintain temperature control.

1.17
SEQUENCING AND SCHEDULING
NOTES FOR SPECIFIER:  Edit for project specific sequence and scheduling  

A. Coordinate installation of tile work with related work.

B. Proceed with tile work only after curbs, vents, drains, piping, and other projections through substrate have been installed and when substrate construction and framing of openings have been completed.

1.18      WARRANTY

The Contractor warrants the work of this Section to be in accordance with the Contract Documents and free from faults and defects in materials and workmanship for a period of 25 years. The manufacturer of adhesives, mortars, grouts and other installation materials shall provide a written twenty five (25) year 
warranty, which covers materials and labor - reference LATICRETE Warranty Data Sheet 025.0 for complete details and requirements.  for exterior facades over steel or wood framing, the manufacturer of adhesives, mortars, grouts and other installation materials shall provide a written fifteen (15) year 
warranty, which covers replacement of LATICRETE products only – reference LATICRETE Warranty Data Sheet 230.15 for complete details and requirements.
1.19
MAINTENANCE
Submit maintenance data under provisions of Section 01730. Include cleaning methods, cleaning solutions recommended, stain removal methods, as well as polishes and waxes recommended.

1.20
EXTRA MATERIALS STOCK
Upon completion of the work of this Section, deliver to the Owner 2% minimum additional tile and trim shape of each type, color, pattern and size used in the Work, as well as extra stock of adhesives, mortars, grouts and other installation materials for the Owner's use in replacement and maintenance. Extra stock is to be from same production run or batch as original tile and installation materials.

PART 2 - PRODUCTS
2.1
MANUFACTURED MASONRY VENEER OR THIN BRICK MANUFACTURERS
Subject to compliance with paragraphs 1.12 and performance requirements, provide products by one of the following manufacturers: 
2.2
MANUFACTURED MASONRY VENEER MATERIALS 

NOTE TO SPECIFIER: edit for each veneer type

A. Manufactured Masonry Veneer

B. Grade: 

C. Size: 

D. Edge

E. Finish:                      

F. Color

G. Special shapes

H. Location: 

2.3
THIN BRICK MATERIALS 

NOTE TO SPECIFIER: edit for each thin brick type

A. Thin Brick


B. Grade: 

C. Size: 

D. Edge

E. Finish:                       
F. Color

G. Special shapes

H. Location:   

2.4
CERAMIC TILE INSTALLATION MATERIALS MANUFACTURER
NOTE TO SPECIFIER: Use either the following performance specification or the proprietary specification.
A. LATICRETE International, Inc., 1 Laticrete Park North, Bethany, CT 06524-3423 USA Phone 800-243-4788, (203) 393-0010 technicalservices@laticrete.com, https://laticrete.com;  www.laticrete.com/green 
2.5
PERFORMANCE SPECIFICATION - TILE INSTALLATION ACCESSORIES
NOTE TO SPECIFIER:  Edit applicable tile installation accessories.
A. Air & Water Barrier / Waterproofing / Crack Suppression Membrane to be thin, cold applied, single component liquid and load bearing. Reinforcing fabric (if specified) to be non-woven rot-proof specifically intended for waterproofing membrane.  Waterproofing Membrane to be non-toxic, non-flammable, and non-hazardous during storage, mixing, application and when cured. It shall be certified by IAPMO and ICC approved as a shower pan liner and shall also meet the following physical requirements:

1. Hydrostatic Test (ASTM D4068):              
     Pass
2. Elongation @ break (ASTM D751):
20-30% 

3. System Crack Resistance (ANSI A118.12):
Pass (High) 

4. 7 day Tensile Strength (ANSI A118.10):                      >265 psi (1.8 MPa)
5. 7 day Shear Bond Strength (ANSI A118.10)               >200 psi (1.4 MPa)
6. 28 Day Shear Bond Strength (ANSI A118.4):
>214 psi (1.48 – 2.4 MPa)
7. Service Rating (TCA/ASTM C627): 
Extra Heavy 

8. Total VOC Content:                                                     < 0.05 mg/m3 
B.    Epoxy Waterproofing Membrane to be 3 component epoxy, trowel applied specifically designed to be used under ceramic tile, stone or brick and requires only 24 hours prior to flood testing:

1. Breaking Strength (ANSI A118.10):              
     450-530 psi (3.1-3.6 MPa)
2. Waterproofness (ANSI A118.10):
No Water penetration 

3. 7 day Shear Bond Strength (ANSI A118.10):              110-150 psi (0.8-1 MPa)

4. 28 Day Shear Bond Strength (ANSI A118.10):
90-120 psi (0.6–0.83 MPa)

5. 12 Week Shear Bond Strength (ANSI A118.10):        110-130 psi (0.8-0.9 MPa)
6. Total VOC Content:                                                     <3.4 g/L 
C.  Cleavage membrane: 15 pound asphalt saturated, non-perforated roofing felt complying with ASTM D226, 15 pound coal tar saturated, non-perforated roofing felt complying with ASTM D227 or 4.0 mils (0.1 mm) thick polyethylene plastic film complying with ASTM D4397.
D.   Galvanized, diamond metal lath: flat expanded type, weighing not less than 3.2 lb. per yd2 (1.4 kg/m2). Metal lath shall comply with ASTM C847.

E.   Cementitious backer board units: size and thickness as specified, complying with ANSI A118.9.
2.6        PERFORMANCE SPECIFICATION - TILE INSTALLATION MATERIALS 
NOTE TO SPECIFIER:  Edit applicable tile installation materials.

A. Latex Portland Cement Mortar for thick beds, screeds, leveling beds and scratch/plaster coats to be weather, frost, shock resistant and meet the following physical requirements:

1. Compressive Strength-7 Day (ASTM C109):               1,500 – 2,000 psi (10.3 – 13.8 MPa) 
2. Compressive Strength-28 Day (ASTM C109):             2,200 – 3,200 psi (15.2 – 22.1 MPa) 

3. Flexural Strength-7 Day (ASTM C348):
              500 – 700 psi (3.4 – 4.8 MPa)

4. Tensile Adhesion Strength-28 Day (ASTM C1583):    125 – 175 psi (0.9 – 1.2 MPa)
5. Total VOC Content:                                                      0.00 g/L
B. Latex Portland Cement Thin Bed Mortar for thin set and slurry bond coats to be weather, frost, shock resistant, non-flammable and meet the following physical requirements:

1. Compressive strength (ANSI A118.4):
>2,500 psi (17.2 MPa)
2. Shear bond strength (ANSI A118.4 5.2.4):
≥300 psi (2.1 MPa)
3. Sag on Wall (EN 1308):  
0.0mm
4. Total VOC Content:                                                     0.00 g/L
C. Latex Portland Cement Grout to be weather, frost and shock resistant, as well as meet the following physical requirements:

1. Compressive Strength (ASTM C91):
3,000 – 3,500 psi (20.7 – 24.1 MPa) 
2. Total VOC Content:                                                     0.00 g/L
3. Pot Life @ 70°F (21°C):
90 minutes
E.   Expansion and Control Joint Sealant to be a one component, neutral cure, exterior grade silicone sealant and meet the following requirements:
1. Tensile Strength (ASTM C794):
280 psi (1.9 MPa) 
2. Hardness (ASTM D751; Shore A):                              27 (colored sealant)
3. Weather Resistance (QUV Weather-ometer):            10,000 hours (no change)
4. Dynamic Joint Movement: 
+/- 25%
F.   Spot Bonding Epoxy Adhesive for installing tile, brick and stone over vertical and overhead surfaces shall be high strength, high temperature resistant, non-sag and shall meet the following physical requirements:
1. Thermal Shock Resistance (ANSI A118.3):
>1,000 psi (6.9 MPa) 

2. Water Absorption (ANSI A118.3):                                0.1 % 
1. Compressive Strength (ANSI A118.3):
>8,300 psi (57.2 MPa)  

2. Shear Bond Strength (ANSI A118.3 Modified):
>730 psi (5 MPa) 
2.7
PROPRIETARY SPECIFICATION - TILE INSTALLATION ACCESSORIES
NOTE TO SPECIFIER:  Edit applicable veneer installation accessories. 

Installation accessories as manufactured by LATICRETE International, Inc., 1 LATICRETE Park North, Bethany, CT  06524-3423 USA. Phone 800-243-4788, https://laticrete.com. 

A. Waterproofing Membrane: LATICRETE® MVIS™ Air & Water Barrier as manufactured by LATICRETE International, Inc.

B. Epoxy Waterproofing Membrane: LATAPOXY® Waterproof Flashing Mortar as manufactured by LATICRETE International, Inc.


PROPRIETARY SPECIFICATION - TILE INSTALLATION MATERIALS

Installation materials as manufactured by LATICRETE International, Inc., 1 LATICRETE Park North, Bethany, CT  06524-3423 USA. Phone 800-243-4788, https://laticrete.com; www.laticrete.com/green 

A. Latex-Portland Cement Mortar for thick beds, screeds, leveling beds and scratch/plaster coats: LATICRETE MVIS Lite Wall Float** as manufactured by LATICRETE International, Inc.

B. Latex Portland Cement Thin Bed Mortar: LATICRETE MVIS Veneer Mortar** as manufactured by LATICRETE International, Inc.

C. Latex Portland Cement Grout: LATICRETE MVIS Pointing Mortar** as manufactured by LATICRETE International, Inc.

D. Expansion and Control Joint Sealant:  LATICRETE LATASIL™ as manufactured by LATICRETE International, Inc.

E. Spot Bonding Epoxy Adhesive: LATAPOXY 310 Stone Adhesive (Standard or Rapid Grade) as manufactured by LATICRETE International, Inc.
**   UL GREENGUARD Indoor Air Quality Certified® and UL GREENGUARD Gold Indoor Air Quality Certified Product

END OF SECTION
©2020 LATICRETE International, Inc., all rights reserved

3.1
SUBSTRATE EXAMINATION
A.   Verify that surfaces to be covered with ceramic tile, pavers, brick, masonry veneer, stone, trim or waterproofing are:

1. Sound, rigid and conform to good design/engineering practices;

2. Systems, including the framing system and panels, over which masonry veneer, stone or other suitable veneer will be installed shall be in conformance with the International Residential Code (IRC) for residential applications, the International Building Code (IBC) for commercial applications, or applicable building codes.  Substrate deflection under all live, dead and impact loads, including concentrated loads, must not exceed L/600 where L= span length.  The project design should include the intended use and necessary allowances for the expected live load, concentrated load, impact load, and dead load including the weight of the finish and installation materials. In addition to deflection considerations, above-ground installations are inherently more susceptible to vibration. Consult pointing mortar, mortar, and membrane manufacturer to determine appropriate installation materials for above-ground installations. A crack isolation membrane and higher quality setting materials can increase the performance capabilities of above-ground applications. However, the upgraded materials cannot mitigate structural deficiencies including walls or floors not meeting code requirements and/or over loading or other abuse of the installation in excess of design parameters;
3. Clean and free of dust, dirt, oil, grease, sealers, curing compounds, laitance, efflorescence, form oil, loose plaster, paint, and scale;

4. The actual weight of materials and construction assemblies, including concentrated dead loads of fixed service and other equipment, shall be utilized as prescribed by state and local building codes to estimate dead loads for the purpose of structural design;
5. Lateral and other bracing must be constructed as prescribed by code and/or engineered wood manufacturers’ literature to achieve specified design deflection values;
6. Not leveled with gypsum or asphalt based compounds.
B. Concrete surfaces shall also be:

      NOTE TO SPECIFIER: LATICRETE® Latex Portland Cement Mortars do not require a  

      minimum cure time for concrete substrates or mortar beds;  
1. Cured a minimum of 28 days at 70°F (21°C), including an initial seven (7) day period of  
       wet curing;  
2. Wood float finished, or better, if the installation is to be done by the thin bed method;

C. Advise General Contractor and Architect of any surface or substrate conditions requiring correction before veneer installation work commences.  Beginning of work constitutes acceptance of substrate or surface conditions.
3.2
SURFACE PREPARATION
A. SHEATHING (e.g. EXTERIOR OSB, EXTERIOR GRADE PLYWOOD, & OTHER EXTERIOR RATED SHEATHING) OVER FRAMING

1. All designs, specifications and construction practices shall be in accordance with industry standards.  Refer to latest editions of:

   American Iron and Steel Institute (AISI) “Specification for the Design of Cold-Formed Steel Structural Members” [www.steel.org];

Canadian Sheet Steel Building Institute (CSSBI) “Lightweight Steel Framing Binder {Publication 52M}” [www.cssbi.ca];

Steel Stud Manufacturers Association (SSMA) “Product Technical Information” and “ICBO Evaluation Service, Inc. Report ER-4943P” [www.ssma.com];

Metal Lath/Steel Framing Association “Steel Framing Systems Manual.”  

2. Prior to commencing work, installer must submit to Architect/Structural Engineer for approval, shop drawings showing wall/façade construction and attachment details. All attachments must be designed to prevent transfer of building or structural movement to the wall/façade.

3. Construct all framing with galvanized or other rust resistant steel studs and channels; minimum requirements:

Stud Gauge: 16 gauge (1.5mm);

Stud Steel: conforming to ASTM A570 with a minimum yield point of 50 psi (345 MPa);

Stud Spacing: not to exceed 16” (400mm) on center;

Stud Width: 6” (150mm);

Horizontal Bridging: Not to exceed 4’ (1.2m) on center; 16 gauge CR channel typical or as specified by structural engineer.
4. Studs shall be seated squarely in the channel tracks with the stud web and flange abutting the track web, plumbed or aligned, and securely attached to the flanges or web of both the upper and lower tracks by welding. Similarly connect horizontal bridging/purlins and anti-racking diagonal bracing as determined by structural engineer. Grind welds smooth and paint with rust inhibiting paint. Finished frame and components must be properly aligned, square and true.

5. Provide adequate support of framing elements during erection to prevent racking, twisting or bowing.  Lay out the exterior rated sheathing installation so all board edges are supported by metal framing (studs vertically and purlins horizontally).  Cut/fit the exterior rated sheathing and add additional framing elements as required to support board edges.  Stagger boards in courses to prevent continuous vertical joints and allow ⅛-3/16” (3-5mm) between sheets.

6. Fasten the exterior rated sheathing with 7/8” (22mm) minimum length, non-rusting, self-imbedding screws for metal studs (BUILDEX® Catalog item 10-24 17/16 Wafer T3Z or equivalent).  Fasten the boards every 6” (150mm) at the edges and every 8” (200mm) in the field. Stagger placement of screws at seams.  Place screws no less than ⅜” (9mm), and no more than 1” (25mm), from board edges.

7. Follow board manufacturer’s installation instructions.

8. Compliance with design criteria and state and local building codes must approved and certified by a qualified structural engineer.  Use more stringent design criteria when necessary to comply with state and local building code stiffness requirements for thin veneers. 

B. CEMENT BACKER BOARD OVER SHEATHING AND WEATHER RESISTIVE BARRIER (AS SPECIFIED)
1. All designs, specifications and construction practices shall be in accordance with industry standards.  Refer to latest editions of:

   American Iron and Steel Institute (AISI) “Specification for the Design of Cold-Formed Steel Structural Members” [www.steel.org];

Canadian Sheet Steel Building Institute (CSSBI) “Lightweight Steel Framing Binder {Publication 52M}” [www.cssbi.ca];

Steel Stud Manufacturers Association (SSMA) “Product Technical Information” and “ICBO Evaluation Service, Inc. Report ER-4943P” [www.ssma.com];

Metal Lath/Steel Framing Association “Steel Framing Systems Manual.”  

2. Prior to commencing work, installer must submit to Architect/Structural Engineer for approval, shop drawings showing wall/façade construction and attachment details. All attachments must be designed to prevent transfer of building or structural movement to the wall/façade.

3. Construct all framing with galvanized or other rust resistant steel studs and channels; minimum requirements:

Stud Gauge: 16 gauge (1.5mm);

Stud Steel: conforming to ASTM A570 – latest edition with a minimum yield point of 50 psi;

Stud Spacing: not to exceed 16” (400mm) on center;

Stud Width: 6” (150mm);

Horizontal Bridging: Not to exceed 4’ (1.2m) on center; 16 gauge CR channel typical or as specified by structural engineer.
4. Studs shall be seated squarely in the channel tracks with the stud web and flange abutting the track web, plumbed or aligned, and securely attached to the flanges or web of both the upper and lower tracks by welding. Similarly connect horizontal bridging/purlins and anti-racking diagonal bracing as determined by structural engineer. Grind welds smooth and paint with rust inhibiting paint. Finished frame and components must be properly aligned, square and true.

5. Provide adequate support of framing elements during erection to prevent racking, twisting or bowing.  Lay out the cement backer board installation so all board edges are supported by metal framing (studs vertically and purlins horizontally).  Cut/fit the cement backer board and add additional framing elements as required to support board edges.  Stagger boards in courses to prevent continuous vertical joints and allow ⅛-3/16” (3-5mm) between sheets.

6. Fasten the cement backer board per board manufacturer’s installation instructions with suitable, corrosion-resistant fasteners.

7. Tape all the board joints with the alkali resistant 4” (50mm) wide reinforcing mesh provided by the cement backer board manufacturer imbedded in the same mortar used to install the thin brick, masonry veneer, or stone. 

8. Compliance with design criteria and state and local building codes must approved and certified by a qualified structural engineer.  Use more stringent design criteria when necessary to comply with state and local building code stiffness requirements for thin veneers. 

C. (List other Substrates as required and means of preparation as required)

(Insert any Special Means of Preparation – In addition to the surface preparation requirements listed above; …) 
3.3
INSTALLATION - ACCESSORIES
NOTE TO SPECIFIER: edit section based on project conditions. 

A. Weather Resistant Barrier (WRB) - 2 layers as detailed and specified by project architect
1. Install as per WRB manufacturer’s written installation instructions

 3.4       INSTALLATION – TILE, BRICK, MASONRY VENEER & STONE          

A. General: : Install in accordance with current version of Masonry Veneer Manufacturer’s Association (MVMA) “Installation Guide for Adhered Concrete Masonry Veneer” and/or veneer manufacturer’s specific written installation instructions and/or ASTM C1780 Standard Practice for Installation Methods for Adhered Manufactured Stone Masonry Veneer. Cut and fit thin brick, masonry veneer, or stone neatly around corners, fittings, and obstructions.  Perimeter pieces to be minimum half veneer unit. Chipped, cracked, split pieces and edges are not acceptable.  Make joints even, straight, plumb and of uniform width to tolerance +/- 1/16" over 8’ (1.5mm in 2.4m). Install divider strips at junction of flooring and dissimilar materials.
B. Air/Water Barrier and/or Waterproofing Membrane:

NOTE TO SPECIFIER: Adhesives, mortars and grouts for ceramic tile, mosaics, pavers, brick, masonry veneer, and stone are not replacements for waterproofing membranes and will not prevent penetration by windblown rain and other moisture through façades/walls.  In addition to installing waterproofing membrane where required, provide proper architectural detailing (water-stops, flashings, weeps, etc.) to conduct water to the building exterior, especially at critical areas such as window heads/sills, penetrations and parapet walls.   
Install the vapor permeable air and water barrier in compliance with current revisions of manufacturer’s written installation instructions.  Review the installation and plan the application sequence.  Pre-cut LATICRETE® Waterproofing/Anti-Fracture Fabric (if required), allowing 2” (50mm) for overlap at ends and sides to fit the areas as required.  Roll up the pieces for easy handling and placement.  Shake or stir LATICRETE MVIS™ Air & Water Barrier before using.  

Pre-Treat Cracks and Joints - Install sheathing panels and treat joints in accord with the respective sheathing panel manufacturer’s installation instructions, including installation of board joint treatment.  Pack any gaps around pipes, lights or other penetrations with LATAPOXY® Waterproof Flashing Mortar and allow to harden. Treat substrate joints and seams up to 1/8” (3 mm) by applying a liberal coat^ of LATICRETE MVIS Air & Water Barrier approximately 8” (200 mm) wide over seam using a paint roller (heavy napped), brush or trowel. While LATICRETE MVIS Air & Water Barrier is still wet embed 6” (150 mm) wide LATICRETE Waterproofing/Anti-Fracture Fabric pressing the fabric in firmly so that the LATICRETE MVIS Air & Water Barrier liquid bleeds through the fabric, then immediately apply another liberal coat^ of LATICRETE MVIS Air & Water Barrier liquid over the fabric using a paint roller, brush or trowel.  For substrate joints and seams greater than 1/8” (3 mm), fill seams to a smooth finish with LATICRETE MVIS Veneer Mortar. Allow mortar to set 24 hours, then treat seams by applying a liberal coat^ of LATICRETE MVIS Air & Water Barrier approximately 8” (200 mm) wide over seam. While LATICRETE MVIS Air & Water Barrier is still wet embed 6” (150mm) wide LATICRETE Waterproofing/Anti-Fracture Fabric pressing the fabric in firmly so that the LATICRETE MVIS Air & Water Barrier liquid bleeds through the fabric, then immediately apply another liberal coat^ of LATICRETE MVIS Air & Water Barrier liquid over the fabric.  LATICRETE MVIS Air & Water Barrier will dry to a uniform olive green color when it’s dry to touch.

Pre-Treat Coves and Floor/Wall Intersections - Fill all substrate coves and floor/wall transitions to a smooth finish and changes in plane using a LATICRETE latex-fortified thin-set.  Alternatively, a liberal coat* of LATICRETE MVIS Air & Water Barrier applied with a paint brush or trowel may be used to fill in cove joints and floor/wall transitions <1/8” (3mm) in width.  Apply a liberal coat* of LATICRETE MVIS Air & Water Barrier approximately 8” (200mm) wide over substrate cracks, cold joints, and control joints using a paint brush or heavy napped paint roller. 

Movement Joint Loop (Slip Joint) Treatment - Apply a liberal coat^ of LATICRETE MVIS Air & Water Barrier, approximately 8” (200 mm) wide over the areas. Then immediately embed and loop the 6” (152 mm) wide LATICRETE Waterproofing/Anti-Fracture Fabric into the substrate movement joint and allow to bleed through. Then top coat with a second liberal coat^ of LATICRETE MVIS Air & Water Barrier liquid fully encapsulating the LATICRETE Waterproofing/Anti-Fracture Fabric. Repeat process to ensure that all movement joints receive two (2) layers of LATICRETE Waterproofing/Anti-Fracture Fabric.

Main Application - Allow any pre-treated areas to dry to the touch. Apply a liberal coat^ of LATICRETE® MVIS™ Air & Water Barrier using a paint roller (heavy napped) or paint brush over substrate including pre-treated areas and allow to dry to the touch approximately 1–2 hours at 70°F (21°C) and 50% RH. Apply a second liberal coat^ of LATICRETE MVIS Air & Water Barrier over the first coat of LATICRETE MVIS Air & Water Barrier. Let topcoat dry to the touch, approximately 1–2 hours at 70°F (21°C) and 50% RH. When last coat has dried to the touch, inspect final surface for pinholes, voids, thin spots or other defects and re-apply as necessary. LATICRETE MVIS Air & Water Barrier will dry to a uniform olive green color when it’s dry to touch. Use additional LATICRETE MVIS Air & Water Barrier to seal pinholes, voids, thin spots or other defects and re-apply as necessary. Bring main application of LATICRETE Air and Water Barrier up to all penetrations through the membrane.

NOTE: Proper integration involves transitioning between different materials. LATAPOXY® Waterproof Flashing Mortar may be required between some connections, protrusions, details, joints and transitions. Where transitioning between different materials terminate the LATICRETE MVIS Air & Water Barrier at the edge of the transition, allow main application to dry, then apply LATAPOXY Waterproof Flashing Mortar with a trowel overlapping both sides of the transition by at least 2” to 4” [50mm to 100mm] (see Illustration 1,2,4 & 7).

* Dry coat thickness is 20 – 30 mil (0.02 - 0.03” or 0.5 - 0.8mm); consumption per coat is approximately 0.01 gal/ft2 (approx. 0.4 L/m2); coverage is approximately 100 ft2 /gal (approx. 2.5 m2/ L).  LATICRETE® Waterproofing/Anti-Fracture Fabric can be used to pre-treat cracks, joints, curves, corners, drains, and penetrations with LATICRETE MVIS™ Air & Water Barrier.

Spray Application of LATICRETE MVIS Air & Water Barrier - Follow all installation and surface preparation requirements outlined in this document and TDS 410M “Spraying LATICRETE MVIS Air & Water Barrier”.  The sprayer being used for the application of LATICRETE MVIS Air & Water Barrier should be capable of producing a maximum of 3300 psi (22.8 MPa) with a flow rate of 0.95 to 1.6 GPM (3.6 to 6.0 LPM) using a 0.521 or a 0.631 reversible tip. Keep the unit filled with LATICRETE MVIS Air & Water Barrier to ensure continuous application of liquid. The hose length should not exceed 100’ (30 m) in length and 3/8” (10 mm) in diameter.

Apply a continuous LATICRETE MVIS Air & Water Barrier film with an overlapping spray^. The wet film has a sage green appearance and dries to a darker olive green color. When the first coat has dried to a uniform olive green color, approximately 45 to 90 minutes at 70°F (21°C), visually inspect the coating for any voids or pinholes. Fill any defects with additional material and apply the second coat^ at right angles to the first. The wet film thickness should be checked periodically using a wet film gauge.

Check application thickness with a wet film gauge periodically as the LATICRETE MVIS Air & Water Barrier is being applied to ensure that the appropriate thickness and coverage is achieved.  Bounce back and overspray will consume more product. To achieve the required film thickness, the coating must be free from pinholes and air bubbles. Bring main application of LATICRETE MVIS Air and Water Barrier up to all penetrations through the membrane. Do not back roll the spray applied coating. Allow the LATICRETE MVIS Air & Water Barrier to cure in accord with the instructions in this document and TDS 410M prior to the installation of finish materials. It is important to note that areas not scheduled to receive the LATICRETE MVIS Air & Water Barrier should be taped off and protected from any potential overspray.

Protection - Provide protection for newly installed membrane, even if covered with a thin-bed stone, masonry veneer, or thin brick installation against exposure to rain or other water for a minimum of 2 hours at 70°F (21°C) and 50% RH.  For temperatures between 45°F and 69°F (7°C to 21°C) allow a minimum 24 hour cure period.

Use the following LATICRETE System Materials: 

LATICRETE® MVIS™ Air & Water Barrier

References:

LATICRETE Data Sheets: 661.0, 661.5, 237.0
Health Product Declaration: MVIS A&WB
LATICRETE SDS: MVIS Air & Water Barrier
UL GreenGuard Gold Certificate: MVIS A&WB
LATICRETE Technical Data Sheets: 166, 183, 177M, 410M
C. Veneer Mortar Installation Method (Masonry Veneer):  Moisten the back of each veneer unit and the top of the scratch coat so the surfaces appear damp but are free of standing water.  Install masonry veneer adhesive mortar in compliance with current revisions of Masonry Veneer Manufacturer’s Association (MVMA) “Installation Guide for Adhered Concrete Masonry Veneer” and/or veneer manufacturer’s specific written installation instructions and/or ASTM C1780 Standard Practice for Installation Methods for Adhered Manufactured Stone Masonry Veneer.  Use the appropriate installation tools to ensure proper bedding of veneer unit.  Using an appropriate size notch trowel apply the adhesive mortar onto the cement backer board.  Using a margin trowel, work the adhesive mortar into good contact with the back of the veneer unit making sure the entire unit is buttered to a nominal ½” (12mm) thickness.  DO NOT COVER JUST THE PERIMETER!  Buttered masonry veneer units should be firmly worked onto the wet notched adhesive coat and slid slightly back and forth or with a slight rotating motion.  Allow installation to set until firm. Clean excess latex portland cement mortar from masonry veneer or stone face and joints between pieces.  Tight fitted masonry veneer should be applied from the corners toward the middle of the wall, and from the bottom toward the top of the wall.
Use the following LATICRETE System Materials: 

LATICRETE MVIS Veneer Mortar              

LATICRETE Data Sheet: 060.0
LATICRETE SDS: MVIS Veneer Mortar
Health Product Declaration: MVIS Veneer Mortar
Product Specific (Type III) Environmental Product Declaration: MVIS Veneer Mortar
GREENGUARD Certificate: Veneer Mortar
LATICRETE Technical Data Sheets: 105, 126
D.
Grouting or Pointing: 

 
NOTE TO SPECIFIER: select one of following and specify color for each type/color of mosaic, paver, or masonry veneer trim unit:  Pointing Mortar (for joints from 3/16” (5mm) to 1 ¼” (32mm) in width:   Allow masonry veneer, mosaics, pavers, thin brick, or stone installation to cure a minimum of 24 hours @ 70° F (21°C).  Verify joints are free of dirt, debris or tile spacers. Sponge or wipe dust/dirt off veneer face and remove any water standing in joints.  Surface temperature must be between 40-90° F (4-32°C).  Use 4 - 5 quarts (3.8 – 4.7 L) of clean potable water for 50 lb. (22.7 kg) of LATICRETE® MVIS™ Pointing Mortar. Place water in a clean mixing container and add mortar slowly. Mix with a slow speed mixer to a smooth stiff consistency. Allow mortar to slake for 5 minutes. Remix mortar.  Dampen surface with water prior to installation of LATICRETE® MVIS™ Pointing Mortar. Pointing mortar/grout may be installed using either a trowel and tuck pointing tool or a mortar bag, filling the joints to the desired depth, ensuring the mortar is forced into all voids.  The curing time will can vary significantly with temperature and humidity.  Once applied, allow to firm to “thumbprint” hardness, trowel, rake and/or dry, soft bristled brush to the desired finish.  

Use the following LATICRETE System Materials: 

LATICRETE® MVIS™ Pointing Mortar


References:

LATICRETE Data Sheets: 228.0
Health Product Declaration: MVIS Pointing Mortar
Product Specific (Type III) Environmental Product Declaration: MVIS Pointing Mortar
LATICRETE SDS:MVIS Pointing Mortar
LATICRETE Technical Data Sheets: 201, 400
NOTE: LATICRETE MVIS Premium Pointing Mortar can be used for Glazed Block, Glazed Brick, Porcelain Pavers, as well as Pre Waxed and Pre-Sealed veneer applications.  If to be used, please confirm use on finish material by performing a field mock up.

E.   Expansion and Control Joints: Provide control or expansion joints as located in contract drawings and in full conformity, especially in width and depth, with architectural details.  

1. Substrate joints must carry through, full width, to surface of thin brick, masonry veneer or stone. 

2. Install expansion joints in thin brick, masonry veneer or stone work over construction/cold joints or control joints in substrates.

3. Install expansion joints where tile, brick, masonry veneer, or stone abut restraining surfaces (such as perimeter walls, curbs, columns), changes in plane and corners.

4. Joint width: ≥ ⅛” (3mm) and ≤ 1” (25mm).

5. Joint width: depth ~2:1 but joint depth must be ≥ ⅛” (3mm) and ≤ ½” (12mm).
6. Layout (field defined by joints): 1:1 length: width is optimum but must be ≤ 2:1. Remove all contaminants and foreign material from joint spaces/surfaces, such as dirt, dust, oil, water, frost, setting/grouting materials, sealers and old sealant/backer.  Use LATICRETE LATASIL™ 9118 Primer for underwater and permanent wet area applications, or for porous stone (e.g. limestone, sandstone etc…) installations.  Install appropriate Backing Material (e.g. closed cell backer rod) based on expansion joint design and as specified in § 07 92 00.  Apply masking tape to face of tile, brick, masonry veneer, or stone veneer.  Use caulking gun, or other applicator, to completely fill joints with sealant.  Within 5-10 minutes of filling joint, ‘tool’ sealant surface to a smooth finish.  Remove masking tape immediately after tooling joint.  Wipe smears or excess sealant off the face of thin brick, masonry veneer, stone or other absorptive surfaces immediately.    
Use the following LATICRETE System Materials: 

LATICRETE LATASIL™
LATICRETE LATASIL 9118 Primer



References:

LATICRETE Detail Drawings: MVIS 126CBB, MVIS 127CBB, MVIS 128CBB 


(Sealant treatments only) 

LATICRETE Data Sheets: 6200.1, 6528.1 
LATICRETE SDS: LATASIL, Primer

LATICRETE Technical Data Sheets: 211, 252
F.   Weeps/Pressure Equalization Vents: Install weeps and/or vent tubes through movement joints, conforming to the size, type and composition specified and as per weep/vent manufacturer’s recommendations, on 2 ft. (600mm) centers minimum, and at all locations indicated in shop drawings, plans and details.  Ensure that all weeps and/or equalization tubes are properly placed to reach the waterproofing membrane and/or cavity they are designed to drain/vent, and are clear of dirt, debris, sealant or other obstructions.   
G.   Vapor Barrier: Install vapor barrier, conforming to the type and composition specified and as per vapor barrier manufacturer’s recommendations, on the side of wall cavity insulation that will be “warm in winter.”  Complete vapor barrier within two (2) weeks after enclosure of the building.  Placement, composition and detail to be provided by project design professional.

H.   Adjusting:  Correction of defective work for a period of one (1) year following substantial completion, return to job and correct all defective work.  Defective work includes, without limitation, veneer units broken in normal use due to deficiencies in setting bed, loose veneer units or grout, and all other defects which may develop as a result of poor workmanship.  

3.5
CLEANING

Clean excess mortar/latex portland cement mortar from veneer surfaces with water before they harden and as work progresses.  Do not contaminate open grout/caulk joints while cleaning. Sponge and wash veneers diagonally across joints. Do not use acids for cleaning. Polish with clean dry cloth. Remove surplus materials and leave premises broom clean.    

3.6
PROTECTION

A. Protect finished installation under provisions of §01500 and §01535.  Close areas to other trades and traffic until veneer being installed has set firmly.  

B. Extend period of protection of veneer work at lower temperatures, below 60°F (15°C), and at high relative humidity (>70% RH) due to retarded set times of mortar/adhesives. Replace or restore work of other trades damaged or soiled by work under this section.

PART 4 – HEALTH AND SAFETY 

The use of personal protection such as rubber gloves, suitable dust masks, safety glasses and industrial clothing is highly recommended. Discarded packaging, product wash and waste water should be disposed of as per local, state or federal regulations.

"As a professional courtesy, LATICRETE offers technical services free of charge. The user maintains all responsibility for verifying the applicability and suitability of the technical service or information provided."
The right to copy, distribute and utilize for commercial purposes is granted exclusively to architects, engineers, and specification writers.  Execution Statements are subject to change without notice.  For latest revision, check our website @ https://laticrete.com/   
ES-W244(E) MVIS   R  16 December 2020
All references are the intellectual property of their respective owners:

TCNA Handbook for Ceramic, Glass, and Stone Tile Installation (2020). Tile Council of North America, Inc. Anderson, SC, 2020.

American National Standard Specifications for Installation of Ceramic Tile. Tile Council of North America, Inc. Anderson, SC, 2017.

Annual Book of ASTM Standards. American Society for Testing and Materials. West Conshohocken, PA, 2001.

American National Standard Specifications for Ceramic Tile (ANSI A137.1). Tile Council of North America, Inc. Anderson, SC 2019.

American National Standard Specifications for Glass Tile (ANSI A137.2). Tile Council of North America, Inc. Anderson, SC, 2019.

American National Standard Specifications for Gauged Porcelain Tile and Gauged Porcelain Tile Panels/Slabs (ANSI A137.3). Tile Council of North America, Inc. Anderson, SC, 2017.

ISO 13007 Ceramic Tiles – Grouts and Adhesives, International Organization for Standardization (ISO), Geneva, Switzerland, 2004.

International Building Code, International Code Council. Country Club Hills, IL, 2018.

International Residential Code for One- and Two-Family Dwellings, International Code Council. Country Club Hills, IL, 2018.

LEED Reference Guide for Green Building Design and Construction v4. U.S Green Building Council. Washington, D.C., 2013.

LEED Schools Reference Guide. U.S. Green Building Council. Washington D.C., 2007.

Lightweight Steel Framing Design Manual. Canadian Sheet Steel Building Institute. Cambridge, ON, Canada, 2006.

North American Specification for the Design of Cold-Formed Steel Structural Members. American Iron and Steel Institute. Washington D.C., 2007.

ICBO ER-4943P Product Technical Information. Steel Stud Manufacturers Association. Chicago, IL, 2001.

Lightweight Steel Framing Systems Manual. Metal Lath/Steel Framing Association Division. Glen Ellyn, IL.

MVMA Installation Guide and Detailing Options for Compliance with ASTM C1780 for Adhered Manufactured Stone Veneer, 5th Edition 1st Printing, National Concrete Masonry Association, 2017.
[image: image2.png]LATICRETE INTERNATIONAL, INC. = 1 LATICRETE Park North = Bethany, (T 06524-3423 USA

LATICRETE 800.243.4788 = support@laticrete.com = www.laticrete.com

©2014 LATICRETE INTERNATIONAL, INC. All frademarks shown are the intellectual properties of their respective owners.





[image: image2.png][image: image3.png]LATICRETE INTERNATIONAL, INC. = 1 LATICRETE Park North = Bethany, (T 06524-3423 USA

LATICRETE 800.243.4788 = support@laticrete.com = www.laticrete.com

©2014 LATICRETE INTERNATIONAL, INC. All frademarks shown are the intellectual properties of their respective owners.



[image: image4.png]LATICRETE INTERNATIONAL, INC. = 1 LATICRETE Park North = Bethany, (T 06524-3423 USA

LATICRETE 800.243.4788 = support@laticrete.com = www.laticrete.com

©2014 LATICRETE INTERNATIONAL, INC. All frademarks shown are the intellectual properties of their respective owners.



